## Estimate
Civil and Furniture BOQ for Bank Of Baroda, Camp Branch Ground Floor
Date:-14-02-2025
Sr.no | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | CIVIL WORK
1 | Removal of exsting flooring Removing existing marble mosaic tiles or skirting without bed concrete including stacking the materials as directed with all leads, lifts etc. complete.. Item Spec: (As directed by Architect in charge) | Sq.ft | 94.5
2 | Removal of existing plumbing fittings and sanitary fittings. | LS
3 | Removal of existing Ms windows (and stacking them neatly at the location designated by the bank) and door including marble or wooden frames and making good the jambs in plaster from all sides. | L.S
4 | Removal of Toilet dado | sq.ft | 278.51
5 | Removal of Existing Water Proofing: | L.S
6 | Shifting and carting away of all debris to the designated location alloted by local authority including labour, Lift & cartage. | L.S
NEW CIVIL WORK
7 | Providing and applying Plaster with wire brush finish to take on new dado tiles on walls after removal of tiles in toilet. Providing internal cement plaster 20mm. thick in single coats in cement mortar 1:3 without neeru finish, to concrete, brick surface, in all positions including scaffolding and curing etc. | sq.ft | 329.44
8 | Water Proofing: Providing and fixing water proofing in brick bat coba with chemical sealant top coat with proper slope. | sq.ft | 42
9 | New Toilet Flooring: Anti-skid ceramic flooring 600 mm X 600 mm 6mm to 8mm thick (Tile upto Rs.75/- sft) (Make- Kajaria/ Nitco/ Johnson), providing and fixing antiskid tile flooring with sand/cement,mortar giving required slope. | sq.ft | 94.5
10 | New Toilet Dado: (Make:Kajaria/Nitco/Johnson)(Tile upto Rs. 80/- sft)(600mm X 1200mm 6mm to 8mm thick),providing and fixing glazed tile dado in cement,mortar.joints finished in matching color cement grout. | sq.ft | 329.44
11 | Granite sill for window: providing and fixing new telephone black of 18 to 20 mm thick granite sill (basic cost upto 200/sq.ft) for the windows with edge polishing in sand/cement mortar 1:6 including filling joints with polymer base filler nosing the sharp edges wherever necessary, curing, etc. complete.....Item Spec: (As directed by Architect-In- Charge) with required slope. | Rft | 47.25
12 | Providing and fixing in position powder coated aluminium louvered windows / ventilator of various sizes with powder coating as per detailed drawing and specifications including aluminium frames 80 x 38 mm x 1.22 mm box type, 5 mm thick sheet glass louvers, of approved quality etc. complete.....Item Spec: (As directed by Architect in charge.) | Sq. ft | 12.6
13 | Door jams in granite: Providing and fixing new black granite door frame including rebate (basic cost upto 200/sq.ft) for the toilet doors with edge polishing in sand/cement mortar1:4 . | Rft | 35.7
14 | Providing and fixing new toilet door consisting of 35mm waterproof flush door having pine wood finished with 2" X 1/4" lipping patti and laminated from both side with 1mm thick laminate & polish to all edges with all accessories & cylindrical Locks. | Sq. ft | 66.15
15 | Cement sheet packing with paint finish | Sq. ft | 7.875
16 | Collapsible gate | Sq. ft | 42
17 | SS Hand rail with proper supports and fixing arrangements. | Rft | 3.15
18 | New plumbing fitting (Jaquare Florantine)
a. | Angle Cocks | No.s | 3
b. | Two Way Bib cock | No.s | 2
c. | Piller cocks | No.s | 1
d. | Health Faucet | No.s | 2
e. | Nahani trap | No.s | 3
f. | Toilet paper holder | No.s | 2
g. | Mirror | Sq.ft | 1
h. | soap dish | No.s | 1
i. | Napkin ring | No.s | 1
j. | CP hook | No.s | 2
k. | Master cock | No.s | 2
19 | NEW SANITARY FITTINGS
a. | EWC (Colour-Star White, Make- Hindware code-20058 (P-15.5) CIST- 21028 Cornice with Cistern) Cost includes bracket, seat cover, accessories, fitting labour, profit and taxes. 'P' Trap. Size- 77.5 X 46 X 66 cm | NO.s | 2
c. | WHB with pedestal (Colour-Star White, Make- Hindware code-100012 Cleo). Cost includes accessories, fitting labour, profit and taxes. | NO.s | 1
20 | Labour for entire toilet block including gents and ladies toilet. | LS
21 | Internal plumbing matrial for toilet: Providing and fixing GI pipe 3" or 4",including GI fittings such as T, elbow, bends, sockest, upvc pipes etc including appling sealants wrapping with teflon tape including chiselling wall and floor to conceal the pipe and making good the same. | LS
Civil Work Total
B | Furniture Work
Ground Floor
Sr. No | Descriptions | Unit | Qty | Rate | Amount
1 | Removal of existing furniture, partitions, false ceiling and carting away debris or stacking it neetly as per bank's requirement | Ls
2 | False Ceiling (Armstrong) | Sqft | 462
Armstrong Classic Lite H1892M with “Suprafine Silhouette” detail. Providing and fixing modular false ceiling tiles of 600 mm x 600 mm centre to centre and 13 mm thick square mineral fibre board to be fixed on frame work of Aluminium sections for suspended false ceiling consisting of Aluminium T 2” X 1 1/2” (50 mm X 40 mm) weighing 0.39 kg/m at 60 cms centre to centre and fixed with 1/2” x 1/2” (15 x 15 mm) flanges weighing 0.19 kg/m suspended on 6 mm dia. mild steel rod weighing 0.22 kg/m, fixed on wall and beams including rounding of the edges with aluminium T of 2” x 1 1/2” (50 mm x 40 mm) weighing 0.39 kg/m etc. (All aluminium sections shall be anodized/powder coated) including all labour, material, lifts etc. complete. Make - Armstrong or equivalent make
Material specifications: Size: 600 mm x 600 mm and 15 mm thk. Sound absorption (NRC): 0.55 Light reflectance of > 84% (WT) Thermal conductivity k = 0.052 - 0.057 W/M0k Humidity resistance = 99% having fire performance Class O / Class 1 (BS 476). Surface: 3 coats of white paint. Back Side: Sanded & one coat of paint
(Note:- Only the plan area will be measured for payment. No extra payment will be made for cutouts,etc.)
3 | False Ceiling (Gypsum Board) | Sq.ft | 1138.2
Plain gypsum board MR/FR grade ceiling: 12 mm thick Plain gypsum MR/FR grade false ceiling Suspension( considering all levels with require all fabricataion work and fitiing from RCC slab to false ceiling level & The rate shall be considered in sqm for all floors and at all heights, offsets whether covelight or fixed gypsum board size up to 100 mm to 1200 mm in the false ceilings including all costs) . Work complete as per the manufacturers specification of Saint Gobain or approved make- M/F Suspended Ceiling 1 hour fire rated.
Providing and fixing Suspended ceiling using Gypsum or equivalent of ULtra G. I. Perimeter Channels of size 0.55mm thick having one flange of 20mm and another flange of 30mm and web 27mm along with perimeter of ceiling, screw fixed to brick wall / partitions with the help of nylon sleeves and screws, at min. 600 mm centers. Then suspending G. I. intermediate channel of size 45mm, 0.9mm thick with two flanges of 15mm each from the soffit at 1220mm centers with ceiling angle of width 25mm x 10mm x 0.55mm thick fixed to soffit with G. I. cleat and steel expansion fasteners. Ceiling section of 0.55mm thickness having knurled web of 51.5mm and two flanges of 26mm each with lips of 10.5mm are then fixed to intermediate channel with the help of connecting clip and in direction perpendicular to the intermediate channel at 457mm centers. 12mm gypsum MR/FR grade Board (conforming to IS 2095 part 1 2011) is then screw fixed to ceiling section with 25mm dry wall screwed at 230mm centers. Screw fixing is done mechanically either with screw driver or drilling machine with suitable attachment. Finally the boards are to be jointed and finished so as to have a flush look which includes filling and finishing the edges of the boards with jointing compound, Joint paper tape . Cutouts For light fittings, grill diffusers shall be made. Necessary cutting / providing openings in the ceiling for AC fixtures, grills, electrical fittings, or other utility services, hatch openings etc. shall be provided by the Contractor and cost of making such modifications shall be included in the price. No separate charges for cutting / providing opening will be paid. Joints between the two gypsum board, (Board placed staggered) gypsum board and wall will have suitable tape and finishes with plaster of paris so as to have crack free joints.
The item includes providing and fixing trap door of size 600 X 1200 mm as per approved sample of Ceiling panels comprise of a powder-coated beaded steel frame with gypsum / plywood board door. Each panel features a push-latch closing mechanism with door retaining safety cable & hook.Suspenders from ceiling to support the frame and trap door firmly along with necessary hilti fastner, cleats, screws, angles, packing, etc. complete work. Work complete including all type of tools, tackles, finishing etc complete as per approved sample & instruction of Architect/ Client/ PMC. sample mock shall be approved from Architect/ Client.
Material: 12.5 mm thick. Gypsum plaster boards, galvanized iron framing, cleats and steel expansion fasteners, jointing tape. Including Plastic Emulsion Paint.
4 | Front Office Counter: | Rft. | 28
Providing and fixing in position Front Office Counter 2’ wide as per drawing comprising of the following complete in all respects:-
a) Working top made with 18mm thick M.R. grade commercial plywood finished with 1mm thick laminate. Outside edge of the working top shall be provided with 1¼”X1” Teak Wood moulding finished with melamine polish. Inside edge will be provided with ½ “x1” T.W. beading patti with melamine finish.
b)Vertical facia (Apron) made with 18mm thick M.R. Grade commercial plywood finished with 1mm thick laminate with 1mm thick groove at the joint of laminates of two different shades.
c) Glazed partition above working top upto 4'6" to be provided with 12mm thick clear glass cut to the standard shape fixed to partition as per fixing details and to boxing with concealed S. S. finished ‘D’ brackets as shown in the drawing. The exposed edges of the glass shall be finished in mirror polish.
d) vertical supports made with 18 mm thick plywood finished.
e) CPU Stand/ Keyboard tray shall be provided of approved model and make.
f) Footrest made with T.W. member of size 4”X1 ½ “ finished with melamine polish.
g) Drawer units as per drawing shall be provided with multipurpose Godrej locks in
Each drawer. Facia of drawer unit shall be finished with 1mm thick laminate and all other sides shall be finished with .08 mm laminate. The drawers will be provided with handles (Stainless Steel finish) and channels as per approval of the Project Consultant / Bank.
The item to include all necessary hardware and fittings in Stainless Steel finish, lipping to all edges and making provision only for electrical fitting behind the front. Necessary beadings with melamine polish for fixing the glass are to be provided.All internal area finished in 0.8 mm laminate..(Note: 19mm table top with Post forming Full Round edge)
5 | Cash Counter: | Rft. | 5
Providing and fixing in position Cash Counter 2’-6” wide as per drawing comprising of the following :
a)Working top made with 18 mm thick M.R. grade commercial plywood finished with 1mm thick laminate. Outside edge of the working top shall be provided with 1¼”X1” Teak Wood moulding finished with melamine polish. Inside edge will be provided with ½ “x1” T.W. beading patti with melamine polish.
b)Vertical facia (Apron) made with 18mm thick M.R. Grade commercial plywood finished with 1mm thick laminate with 1mm thick groove at the joint of laminates of two different shades.
c)Glazed partition of 1’-4” height above working top provided with 12mm thick toughened and frosted glass besides non-transparent film from inside fixed to partition as per fixing details and to boxing with concealed S. S. finished ‘D’ brackets as shown in the drawing. The exposed edges of the glass shall be finished in mirror polish.
d)Transaction top shall be provided with 12mm thick toughened glass (partly glazed partly frosted) fixed horizontally with concealed Stainless Steel D bracket. Both exposed edges (inside and outside) shall be moulded and finished in mirror polish.
e)Glazed partition having height 1’.0” above the transaction top (in facia) shall be provided with 12 mm thick toughened glass (clear) with cut out of 8”x 4” as per drawing. The edges of cut out and the top edge of glass are to be mirror polished and to be fixed to partition as per fixing details and to boxing with concealed S. S. finished ‘D’ brackets as shown in the drawing.
f)Glazed partition provided with 12mm thick toughened glass (Clear) above the slit upto 7' to be fixed to partition as per fixing details and to boxing with concealed S. S. finished ‘D’ brackets as shown in the drawing. . The exposed edges shall be finished in mirror polish.
CPU Stand/ Keyboard tray shall be provided of approved model and make.
g) Footrest made with T.W. member of size 4”X1 ½ “ finished with in melamine polish.
h) Drawer units as per drawing shall be provided and each drawer should have vertical partitions for keeping the currency notes and multipurpose Godrej locks. Facia of drawer unit shall be finished with 1mm thick laminate and all other sides shall be finished with 0.8 mm laminate. The drawers will be provided with handles (Stainless Steel finish) and channels as per approval of the Project Consultant / Bank.
The item to include all necessary hardware and fittings in Stainless Steel finish, lipping to all edges and making provision only for electrical fitting behind the Vertical drop Necessary beadings with matching melamine polish for fixing the glass are to be provided as per drawing/ as directed.All internal area finished in 0.8 mm laminate.(Note: 19mm table top with Post forming Full Round edge)
6 | Solid Full Height Partition with Door | Sq.ft | 475.26
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
7 | Partly Glazed Full Height Partition with Door | Sq.ft | 124.69
Providing and fixing in position in Aluminium section 50mm x 50mm 1.5mm thick of JINDAL/ INDAL make as internal frame structure placed horizontally & vertically in 550 mm x 550 mm or 600mm x 600mm center to center or as directed by the Architect. The vertical members shall be provided at the junction or every 2100 or 2400 mm or as directed by the Architect or as per the site requirements. The rate shall be inclusive of providing and fixing of 12mm thk toughened glass partition in position as indicated in the drawings. The glass shall be fixed securely with Aluminium glass profile of Enox glazing profile EAPS- 1032 or equivalent at bottom of the floor and inside the ceiling as per manufacturer’s specifications to the Architect’s satisfaction. Any damage to the newly laid flooring shall be reinstated and complete in all respects. (For Measurement only Installed area will be considered).
Material: 12 mm thick. Toughened glass with Aluminium glass profile of Enox glazing profile EAPS- 1032 or equivalent make at bottom of the floor and the top below the ceiling.
Size: Full height. Minimum height shall be 8’0” and the maximum height shall be 10’0” or ceiling height
Installation of fully glazed frameless glazed door (Single or double leaf of size as mentioned in drawing and as directed by the Architect) made out of 12 mm thk. Toughened glass and the door shall be fixed with Dorma ,Hafele , Enox or approved make floor springs with SS finish patch fittings on top, bottom. Lock shall be of Dorma , Hafele , Enox or approved make. The door shall have lock in the center of approved make with 450 mm to 600 mm long SS handle of 25 mm dia. (for internal doors) and 900 mm long SS handles of 25 mm dia. (for main entry doors) to be fitted horizontally/ vertically as per instructions of the Architect. The Rate shall be including the making of necessary holes in glass for Access control locks, complete in all respect with all hardware, fittings, fixtures etc. complete in all respects. All necessary hardware, fittings, fixtures to be approved from the Architect or Bank’s Officials before actual application of the same. Any change in the specifications must be first approved from the Architect and the Bank.
8 | Partly Glazed Partition for Cash Cabins with Door | Sq.ft | 132.3
Providing and fixing in position 7’-7” high partly glazed partition for Cash Cabins as per drawing including door drawing in frame work at 600x600 grid (horizontally and vertically) comprising of 50x50 Salwood/RMT Section and / or as per frame work shown in the drawings with 12mm M.R. grade commercial plywood on both sides finished with 1 mm thick laminates of approved shade and colour as shown in drawings. Item to include 8 mm thick glass with etching and frosting as per design and 2”x 2” T.W. member for door sides and glass sides and T.W. door frame to take 8 mm thick glass with etching and frosting.
The door will be provided as per drawing finished in melamine polish of matching laminate colour. The doors are also to be provided with Godrej Night Latch. Two wooden trays are also to be provided as per drawing. Necessary cutouts are to provided in the glass and the edges of the glass cutouts are to be finished in mirror polish.
All exposed T.W. surfaces to be finished in melamine polish of matching laminate colour as directed including all necessary Stainless Steel finish fittings/ hardware, door closers, Godrej locks and wood preservative paint etc. as per list of approved material and as approved by the Project Consultant/ Bank complete in all respects.
9 | Front/ Side/ divider Glass Partitions Providing and fixing Glass partitions over the counter or table In 12 MM Thk. Toughened Glass including round edge polish to all exposed edges and appropriate Fixing Accessories . | Sq.ft | 62.48
10 | Manager’s Table/Officer’s Table | No. | 1
Providing and fixing in position Manager’s Table of size 6'-0"x 2'-6" as per drawing by using 18mm thick M.R. grade commercial plywood for top and 18 mm thick M.R. Grade commercial plywood for all other horizontal and vertical members. 4 Drawer unit with telescopic channels, CPU Stand/ ready made Keyboard tray shall be provided of approved model and make.Footrest made with T.W. member of size 4" x 1 ½" finished with 0.8 mm laminate
Drawer units as per drawing shall be provided with multipurpose Godrej locks in each drawer. Facia of drawer unit shall be finished with 1mm thick laminate and all other sides shall be finished with 0.8 mm laminate. The drawers will be provided with handles (Stainless Steel finish) and channels as per approval of the Project Consultant / Bank.
All exposed plywood surfaces to be finished with 1mm thk. laminate of approved make & shade, and all exposed edges of table top & ply verticals to have 1" x 1/4" T.W.lipping. All exposed T.W. sections to be melamined and internal surfaces to have 0.8 mm laminate as directed. Item to include plywood boxing, all necessary hardware and fittings in Stainless Steel finish, lipping to all edges etc. complete in all respects.(Note: 18mm table top with Post forming Full Round edge)
11 | Cash Counting Table | R.ft | 5.25
Providing and fixing wooden desk made out of 19mm thk MR grade commercial ply boxing with agrowood /teakwood moulding ,drawer unit with telescopic channel, storage with locking arrangement, handles, including keyboard tray. Exposed surface to be finished with 1mm thick laminate & internal surface finished with 0.8mm laminate as directed.Detailing as per drgs. and details given by Architect.
12 | Back office tables (4' X 2') Same as Manager table but 4'x2' in size and with one drawer and shutter for storage box. (Note: 18mm table top with Post forming Full Round edge) | No. | 4
13 | Low Height Storage/ Back Storage(Credenza) | Sq.ft | 17.72
Providing and fixing storage cabinet 400 mm to 450 mm depth and 750 mm high made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
14 | Full Height Storage | Sq.ft | 308.96
Providing and fixing storage cabinet 400 mm to 450 mm depth and full height upto gypsum ceiling made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
15 | Electrical Cupbaord
| Same as storage but with S.S. louvers or S.S. jali for the shutters. | Sq.ft | 77.18
16 | Column & wall panelling | Sq.ft | 508.73
Providing and fixing of column panelling with framework of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal frame structure placed horizontally & vertically in 550 mm x 550 mm or 600mm x 600mm center to center or as directed by the Architect with12mm thick commercial grade ply and then finished with 1.0 mm thick. laminate of equivalent make frosty white. . All woodwork shall be finished with two or more coats of Melamine or PU polish over one coat of sealer; all complete as per the instructions of Architect. The rate shall be inclusive of provision of groove with 1.0 mm thick. laminate along all 3 sides of the groove in the panelling of size 12mm x 12mmx 18 mm ht. and as directed by the Architect. This item also includes scaffolding for maximum height upto 4.0 m from floor level.
17 | ACP Panelling | Sq.ft | 224.7
Providing and fixing wall or column panelling for the existing surfaces to be made out of 16 gauge aluminium framework backing of size 2" X 1" at 1'6" to 2' c/c to be covered with 4mm thk approved interior grade ACP
18 | Front Fasçade Door | Sq.ft | 27.56
Fully glazed Door- Providing and fixing frameless fully glazed 12mm thk toughened glass door fixed with necessary patch fittings (Dorma or equivalent make) including cutting, making holes, cutouts in the glass of required shape and size to accommodate fittings and fixing the fittings in floors, soffits, jambs including necessary fixtures, screws, sealant wherever required and SS cover over patch fittings. Rate shall include necessary etching film /, approved patch fitting locking systems, 1 pair of 600mm long S. S. (H Shape) Handles of approved make, floor springs, and any necessary hardware items.( DORMA MAKE Top Pivot - PT 24, Top Patch Fittings - PT 20, Bottom Patch fittings - PT 10, Floor Spring - BTS 75 V, Corner lock with strike plate and Euro Profile Cylinder - US 10, Handle - TG DIH600 - 600mm length) complete as per the directions of Architect Note:-actual mesurment as per site.
19 | Front façade fixed glazing | Sq.ft | 108.94
same as above but for the fixed portion including 12MM toughened glass with appropriate twin-pro fixing arrangements
20 | Slip writing desk | Rft | 3
Providing & fixing slip writing desk made out of 19mm thk ply. With 1.5mm thk Acrylic Solid Surface Top With Polishing & verticals to make shelves for slips, etc. complete as per design & detail.
21 | Suggestion box in acrylic with shutter | No. | 1
Providing & fixing suggestin box in 12 mm acrylic finish with shutter including lock etc complete.
22 | Cheque drop box in Acrylic with shutter | No. | 1
Providing & fixing Cheque drop box in 12 mm acrylic finish with shutter including lock etc complete.
23 | Soft Board | Sq.ft | 15
Providing and fixing soft board covered with approved coloured cloth on 12mm M.R. grade commercial ply as base and 2"x1" tw frame finished with 1mm thk. laminate & polish etc. complete.
24 | Mirror with frame and fitting | Sq.ft | 5
Providing and fixing 6mm mirror with aluminium frame and fixing arrangement.
25 | Wicket Gate | Sq.ft | 10.5
Providing & Fixing wicket gate wherever required with required SS hinges, SS tower bolts, automatic surface mounted spring door closer, Godrej Night latch, etc. Rubber wood capping made out of sect. 65 x 15 mm fixed at edges incl. natural polish / painting etc. complete as directed
26 | Plastic emulsion paint | Sq.ft | 1660.05
Providing and applying Acrylic paint in minimum of three coats of approved make and shade on walls, ceiling, plywoods, gypsum boards, surfaces etc. including all the necessary surface preparations. The wall shall be cleaned, filled with putti and applied with one coat of primer so as to achieve an even surface to apply paint as per the directions and to the satifactions of the Architect.
27 | Metal Grill Door | Sq.ft | 49.88
Provoding and Fixing M.S. Metal grill door consisting of 12mm M.S. bars 3" c/c in both ways with appropriate accessories like hinges, handles, locking arrangements, including powder coating and S.S . mosquito net jaali with provision to fix exhaust fan
28 | Collapsible Gate with grill on top | Sq.ft | 87.41
Providing and Fixing MS Collapsible Gate Single shutter made out of vertical double channels 12mmx8mm x 3mm at maximum 125 mm apart when fully stretched as specified, braced with flat iron diagonals 12 mm x 5 mm as specified in the item. The top and bottom rails shall be of M.S. section 25mm x 25mm x 6mm with 25 mm dia rollers in every fourth double channels with thw provision of exhaust fan
Where collapsible gate is to be fixed within the opening but is fixed along the outer surface of opening; the M.S. section at top shall be replaced by M.S. flat 40mm x 10mm. The necessary fittings such as bolts, nuts, locking arrangements, stoppers, handles, etc. shall be provided. The gates shall open and close smoothly and easily. T-iron rails shall be fixed to the lintel and floor with masonry nails embedded in cement concrete of lintel and floors at suitable spacing. The bottom runner shall be embedded with floor and proper groove formed and the floor shall be made good to match the rest of the flooring. At the sides, the end double channels shall be fixed with T-iron rails and also by holdfasts 200mm x 40mm x 4 mm bolted at one end to the end double channels and in the masonry in cement concrete 1:2:4 (nominal mix) blocks of size 115 mm x 75 mm x 230 mm, 3 nos. each side. The side masonry shall be made good to match the rest of the masonry finish. One coat of red oxide and two coats of synthetic enamel paint to be provided to the gate.
Ground Floor Branch Total
Mezzanine Floor
1 | Removal of existing furniture, partitions, false ceiling and carting away debris or stacking it neetly as per bank's requirement | Ls
2 | False Ceiling (Armstrong) | Sqft | 205.8
Armstrong Classic Lite H1892M with “Suprafine Silhouette” detail. Providing and fixing modular false ceiling tiles of 600 mm x 600 mm centre to centre and 13 mm thick square mineral fibre board to be fixed on frame work of Aluminium sections for suspended false ceiling consisting of Aluminium T 2” X 1 1/2” (50 mm X 40 mm) weighing 0.39 kg/m at 60 cms centre to centre and fixed with 1/2” x 1/2” (15 x 15 mm) flanges weighing 0.19 kg/m suspended on 6 mm dia. mild steel rod weighing 0.22 kg/m, fixed on wall and beams including rounding of the edges with aluminium T of 2” x 1 1/2” (50 mm x 40 mm) weighing 0.39 kg/m etc. (All aluminium sections shall be anodized/powder coated) including all labour, material, lifts etc. complete. Make - Armstrong or equivalent make
Material specifications: Size: 600 mm x 600 mm and 15 mm thk. Sound absorption (NRC): 0.55 Light reflectance of > 84% (WT) Thermal conductivity k = 0.052 - 0.057 W/M0k Humidity resistance = 99% having fire performance Class O / Class 1 (BS 476). Surface: 3 coats of white paint. Back Side: Sanded & one coat of paint
(Note:- Only the plan area will be measured for payment. No extra payment will be made for cutouts,etc.)
3 | False Ceiling (Gypsum Board) | Sq.ft | 625.8
Plain gypsum board MR/FR grade ceiling: 12 mm thick Plain gypsum MR/FR grade false ceiling Suspension( considering all levels with require all fabricataion work and fitiing from RCC slab to false ceiling level & The rate shall be considered in sqm for all floors and at all heights, offsets whether covelight or fixed gypsum board size up to 100 mm to 1200 mm in the false ceilings including all costs) . Work complete as per the manufacturers specification of Saint Gobain or approved make- M/F Suspended Ceiling 1 hour fire rated.
Providing and fixing Suspended ceiling using Gypsum or equivalent of ULtra G. I. Perimeter Channels of size 0.55mm thick having one flange of 20mm and another flange of 30mm and web 27mm along with perimeter of ceiling, screw fixed to brick wall / partitions with the help of nylon sleeves and screws, at min. 600 mm centers. Then suspending G. I. intermediate channel of size 45mm, 0.9mm thick with two flanges of 15mm each from the soffit at 1220mm centers with ceiling angle of width 25mm x 10mm x 0.55mm thick fixed to soffit with G. I. cleat and steel expansion fasteners. Ceiling section of 0.55mm thickness having knurled web of 51.5mm and two flanges of 26mm each with lips of 10.5mm are then fixed to intermediate channel with the help of connecting clip and in direction perpendicular to the intermediate channel at 457mm centers. 12mm gypsum MR/FR grade Board (conforming to IS 2095 part 1 2011) is then screw fixed to ceiling section with 25mm dry wall screwed at 230mm centers. Screw fixing is done mechanically either with screw driver or drilling machine with suitable attachment. Finally the boards are to be jointed and finished so as to have a flush look which includes filling and finishing the edges of the boards with jointing compound, Joint paper tape . Cutouts For light fittings, grill diffusers shall be made. Necessary cutting / providing openings in the ceiling for AC fixtures, grills, electrical fittings, or other utility services, hatch openings etc. shall be provided by the Contractor and cost of making such modifications shall be included in the price. No separate charges for cutting / providing opening will be paid. Joints between the two gypsum board, (Board placed staggered) gypsum board and wall will have suitable tape and finishes with plaster of paris so as to have crack free joints.
The item includes providing and fixing trap door of size 600 X 1200 mm as per approved sample of Ceiling panels comprise of a powder-coated beaded steel frame with gypsum / plywood board door. Each panel features a push-latch closing mechanism with door retaining safety cable & hook.Suspenders from ceiling to support the frame and trap door firmly along with necessary hilti fastner, cleats, screws, angles, packing, etc. complete work. Work complete including all type of tools, tackles, finishing etc complete as per approved sample & instruction of Architect/ Client/ PMC. sample mock shall be approved from Architect/ Client.
Material: 12.5 mm thick. Gypsum plaster boards, galvanized iron framing, cleats and steel expansion fasteners, jointing tape.With Including Plastic Emulsion Paint.
4 | Solid Full Height Partition with Door | Sq.ft | 210
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
5 | Low height partition | Sq.ft | 68.51
Providing and fixing in position low height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
6 | Manager’s Table/Officer’s Table | No. | 1
Fixing in position existing Manager’s Table of size 5'-0"x 2' as per new layout including necessary repairs like changing hinges, handles or drawer channels required.
7 | Office Tables (4' X 2') Fixing in position officer's table as per new layout using existing workstations including modifications if required. | No. | 4
8 | Low Height Storage/ Back Storage(Credenza) | Sq.ft | 7.88
Providing and fixing storage cabinet 400 mm to 450 mm depth and 750 mm high made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
9 | Full Height Storage | Sq.ft | 205.8
Providing and fixing storage cabinet 400 mm to 450 mm depth and full height upto gypsum ceiling made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
10 | Drop down table (1'-4") deep | R.Ft. | 8
Providing an fixing drop down table made out of 18mmthk MR grade commercial ply with heavyduty folding brackets of hettich finished with 1mm laminate on top and 0.8mm thk laminate to all other surfaces including t.W. half rounf moulding for front with mellamine polish.
11 | Column & wall panelling | Sq.ft | 147
Providing and fixing of column panelling with framework of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal frame structure placed horizontally & vertically in 550 mm x 550 mm or 600mm x 600mm center to center or as directed by the Architect with12mm thick commercial grade ply and then finished with 1.0 mm thick. laminate of equivalent make frosty white. . All woodwork shall be finished with two or more coats of Melamine or PU polish over one coat of sealer; all complete as per the instructions of Architect. The rate shall be inclusive of provision of groove with 1.0 mm thick. laminate along all 3 sides of the groove in the panelling of size 12mm x 12mmx 18 mm ht. and as directed by the Architect. This item also includes scaffolding for maximum height upto 4.0 m from floor level.
12 | Front Fasçade Door | Sq.ft | 22.05
Fully glazed Door- Providing and fixing frameless fully glazed 12mm thk toughened glass door fixed with necessary patch fittings (Dorma or equivalent make) including cutting, making holes, cutouts in the glass of required shape and size to accommodate fittings and fixing the fittings in floors, soffits, jambs including necessary fixtures, screws, sealant wherever required and SS cover over patch fittings. Rate shall include necessary etching film /, approved patch fitting locking systems, 1 pair of 600mm long S. S. (H Shape) Handles of approved make, floor springs, and any necessary hardware items.( DORMA MAKE Top Pivot - PT 24, Top Patch Fittings - PT 20, Bottom Patch fittings - PT 10, Floor Spring - BTS 75 V, Corner lock with strike plate and Euro Profile Cylinder - US 10, Handle - TG DIH600 - 600mm length) complete as per the directions of Architect Note:-actual mesurment as per site.Removal and refixing of existing door
13 | Front façade fixed glazing | Sq.ft | 29.4
same as above but for the fixed portion including 12MM thk toughened glass with appropriate twin-pro fixing arrangements.
14 | Solid partition entrance - Above Door | Sq.ft | 4.73
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
15 | Soft Board | Sq.ft | 15
Providing and fixing soft board covered with approved coloured cloth on 12mm M.R. grade commercial ply as base and 2"x1" tw frame finished with 1mm thk. laminate & polish etc. complete.
16 | Plastic emulsion paint | Sq.ft | 790.65
Providing and applying Acrylic paint in minimum of three coats of approved make and shade on walls, ceiling, plywoods, gypsum boards, surfaces etc. including all the necessary surface preparations. The wall shall be cleaned, filled with putti and applied with one coat of primer so as to achieve an even surface to apply paint as per the directions and to the satifactions of the Architect.
Mezzanine Total
Mid Corporate Office
1 | Removal of existing furniture, partitions, false ceiling and carting away debris or stacking it neetly as per bank's requirement | Ls
2 | False Ceiling (Armstrong) | Sqft | 777
Armstrong Classic Lite H1892M with “Suprafine Silhouette” detail. Providing and fixing modular false ceiling tiles of 600 mm x 600 mm centre to centre and 13 mm thick square mineral fibre board to be fixed on frame work of Aluminium sections for suspended false ceiling consisting of Aluminium T 2” X 1 1/2” (50 mm X 40 mm) weighing 0.39 kg/m at 60 cms centre to centre and fixed with 1/2” x 1/2” (15 x 15 mm) flanges weighing 0.19 kg/m suspended on 6 mm dia. mild steel rod weighing 0.22 kg/m, fixed on wall and beams including rounding of the edges with aluminium T of 2” x 1 1/2” (50 mm x 40 mm) weighing 0.39 kg/m etc. (All aluminium sections shall be anodized/powder coated) including all labour, material, lifts etc. complete. Make - Armstrong or equivalent make
Material specifications: Size: 600 mm x 600 mm and 15 mm thk. Sound absorption (NRC): 0.55 Light reflectance of > 84% (WT) Thermal conductivity k = 0.052 - 0.057 W/M0k Humidity resistance = 99% having fire performance Class O / Class 1 (BS 476). Surface: 3 coats of white paint. Back Side: Sanded & one coat of paint
(Note:- Only the plan area will be measured for payment. No extra payment will be made for cutouts,etc.)
3 | False Ceiling (Gypsum Board) | Sq.ft | 675.15
Plain gypsum board MR/FR grade ceiling: 12 mm thick Plain gypsum MR/FR grade false ceiling Suspension( considering all levels with require all fabricataion work and fitiing from RCC slab to false ceiling level & The rate shall be considered in sqm for all floors and at all heights, offsets whether covelight or fixed gypsum board size up to 100 mm to 1200 mm in the false ceilings including all costs) . Work complete as per the manufacturers specification of Saint Gobain or approved make- M/F Suspended Ceiling 1 hour fire rated.
Providing and fixing Suspended ceiling using Gypsum or equivalent of ULtra G. I. Perimeter Channels of size 0.55mm thick having one flange of 20mm and another flange of 30mm and web 27mm along with perimeter of ceiling, screw fixed to brick wall / partitions with the help of nylon sleeves and screws, at min. 600 mm centers. Then suspending G. I. intermediate channel of size 45mm, 0.9mm thick with two flanges of 15mm each from the soffit at 1220mm centers with ceiling angle of width 25mm x 10mm x 0.55mm thick fixed to soffit with G. I. cleat and steel expansion fasteners. Ceiling section of 0.55mm thickness having knurled web of 51.5mm and two flanges of 26mm each with lips of 10.5mm are then fixed to intermediate channel with the help of connecting clip and in direction perpendicular to the intermediate channel at 457mm centers. 12mm gypsum MR/FR grade Board (conforming to IS 2095 part 1 2011) is then screw fixed to ceiling section with 25mm dry wall screwed at 230mm centers. Screw fixing is done mechanically either with screw driver or drilling machine with suitable attachment. Finally the boards are to be jointed and finished so as to have a flush look which includes filling and finishing the edges of the boards with jointing compound, Joint paper tape . Cutouts For light fittings, grill diffusers shall be made. Necessary cutting / providing openings in the ceiling for AC fixtures, grills, electrical fittings, or other utility services, hatch openings etc. shall be provided by the Contractor and cost of making such modifications shall be included in the price. No separate charges for cutting / providing opening will be paid. Joints between the two gypsum board, (Board placed staggered) gypsum board and wall will have suitable tape and finishes with plaster of paris so as to have crack free joints.
The item includes providing and fixing trap door of size 600 X 1200 mm as per approved sample of Ceiling panels comprise of a powder-coated beaded steel frame with gypsum / plywood board door. Each panel features a push-latch closing mechanism with door retaining safety cable & hook.Suspenders from ceiling to support the frame and trap door firmly along with necessary hilti fastner, cleats, screws, angles, packing, etc. complete work. Work complete including all type of tools, tackles, finishing etc complete as per approved sample & instruction of Architect/ Client/ PMC. sample mock shall be approved from Architect/ Client.
Material: 12.5 mm thick. Gypsum plaster boards, galvanized iron framing, cleats and steel expansion fasteners, jointing tape.With Including Plastic Emulsion Paint.
4 | Solid Full Height Partition with Door | Sq.ft | 372.75
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
5 | Solid Full Height Partition with Door | Sq.ft | 186.6375
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
6 | Office tables (4' X 2') | No. | 11
Providing and fixing in position Officer’s Table of size 4'-0"x 2' as per drawing by using 18 mm thick M.R. grade commercial plywood for top and 18 mm thick plywood for all other horizontal and vertical members. 4 Drawer unit with telescopic channels, CPU Stand/ ready made Keyboard tray shall be provided of approved model and make.Footrest made with T.W. member of size 4" x 1 ½" finished with 0.8 mm laminate
Drawer units as per drawing shall be provided with multipurpose Godrej locks in each drawer. Facia of drawer unit shall be finished with 1mm thick laminate and all other sides shall be finished with 0.8 mm laminate. The drawers will be provided with handles (Stainless Steel finish) and channels as per approval of the Project Consultant / Bank.
All exposed plywood surfaces to be finished with 1mm thk. laminate of approved make & shade, and all exposed edges of table top & ply verticals to have 1" x 1/4" T.W.lipping. All exposed T.W. sections to be melamined and internal surfaces to have 0.8 mm laminate as directed. Item to include plywood boxing, all necessary hardware and fittings in Stainless Steel finish, lipping to all edges etc. complete in all respects.(Note: 18 mm table top with Post forming Full Round edge)
7 | Cubical table (4'-6" X 2'-3") | No. | 1
Same as above table but for 4'-6" x 2'-3" size Note:18 mm table top with Post forming Full Round edge)
8 | Low Height Storage/ Back Storage(Credenza) | Sq.ft | 101.325
Providing and fixing storage cabinet 400 mm to 450 mm depth and 750 mm high made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
9 | Full Height Storage | Sq.ft | 352.0125
Providing and fixing storage cabinet 400 mm to 450 mm depth and full height upto gypsum ceiling made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
10 | Electrical Cupbaord
| Same as storage but with S.S. louvers or S.S. jali for the shutters. | Sq.ft | 29.4
11 | Column & wall panelling | Sq.ft | 337.8375
Providing and fixing of column panelling with framework of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal frame structure placed horizontally & vertically in 550 mm x 550 mm or 600mm x 600mm center to center or as directed by the Architect with12mm thick commercial grade ply and then finished with 1.0 mm thick. laminate of equivalent make frosty white. . All woodwork shall be finished with two or more coats of Melamine or PU polish over one coat of sealer; all complete as per the instructions of Architect. The rate shall be inclusive of provision of groove with 1.0 mm thick. laminate along all 3 sides of the groove in the panelling of size 12mm x 12mmx 18 mm ht. and as directed by the Architect. This item also includes scaffolding for maximum height upto 4.0 m from floor level.
12 | Soft Board | Sq.ft | 30
Providing and fixing soft board covered with approved coloured cloth on 12mm M.R. grade commercial ply as base and 2"x1" tw frame finished with 1mm thk. laminate & polish etc. complete.
13 | Mirror with frame and fitting | Sq.ft | 9
Providing and fixing 6mm mirror with aluminium frame and fixing arrangement.
14 | Plastic emulsion paint | Sq.ft | 2032.8
Providing and applying Acrylic paint in minimum of three coats of approved make and shade on walls, ceiling, plywoods, gypsum boards, surfaces etc. including all the necessary surface preparations. The wall shall be cleaned, filled with putti and applied with one coat of primer so as to achieve an even surface to apply paint as per the directions and to the satifactions of the Architect.
15 | Apex paint | Sq.ft | 414.6187
Painting of external wall with minimum of 3 coats of Apex paint of approved shade & make including surface preparation and 1 coat of primer As per the diections / to the satisfaction of the architect
16 | Oil paint | Sq.ft | 541.8
Painting of wall with minimum of 3 coats of flat Oil paint of approved shade & make on the rolling shutter and grill/ collapsible gate surface to apply paint. As per the diections / to the satisfaction of the architect
Mid Corporate Total
Strong Room
1 | Removal of existing furniture, partitions, false ceiling and carting away debris or stacking it neetly as per bank's requirement | Ls
2 | Solid Full Height Partition - with door | Sq.ft | 67.2
Providing and fixing in position full height solid partition 75 mm thk. as indicated in the drawing including the door made out of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal framed structure placed horizontally & vertically in 550 mm x 550 mm / 600mm x 600mm center to center or as directed by the Architect. The alternate corner vertical members of the partition shall be taken upto the ceiling level (payment shall be made for the partition measured below the false ceiling level) and the same shall be anchored to the ceiling securely with help of suitable cleats. Framework shall be fixed with 12mm thick commercial grade ply of approved make on both sides finished as per following specifications. The Partition shall be finished with 1.0 mm thick laminate Sunmica make Frosty white G499 / 1499 of approved shade and make or equivalent on both the sides. Rate shall be inclusive of provision of pencil groove as directed by the Architect. Height of the partitions upto soffit of false ceiling / laminate finish top shall be considered for payment. Alternate, corner vertical members of the partition shall be fixed with necessary brackets /supports at RCC levels. The framework above the false ceiling shall not be considered for payment.
Material: 12 mm thk. Commercial Ply partition.
Finish: Internally and externally finished with 1.0 mm thk. Laminate equivalent make sunmica Frosty white G499 / 1499 or equivalent.
Providing and fixing Flush Doors of shutter size 750 mm to 900 mm x 2100mm as per drawing complete of thickness 45 mm to 50 mm raw size confirming to IS standards. The shutter shall be finished with 1.0 mm thick. Laminate of equivalent make Frosty white G499 / 1499 along both sides of approved shade and design. The shutter shall be lipped with 12 mm thick teak wood beading along the edges. The rate shall be inclusive of the hardware, fittings, fixtures etc. in heavy duty SS such as lock of 6 lever of Godrej or Doorset make with SS mortise handle of approved make and model. The rate shall be inclusive of door closers, SS heavy duty hinges, tower bolts, SS foot operated door stopper, SS buffer along the back side and any other related hardware, fittings, fixtures etc. required to the complete satisfaction of the Architect.
3 | Office Tables (5' X 2') | No. | 1
Providing and fixing in position Officer’s Table of size 5'-0"x 2' as per drawing by using 18 mm thick M.R. grade commercial plywood for top and 18 mm thick plywood for all other horizontal and vertical members. 4 Drawer unit with telescopic channels, CPU Stand/ ready made Keyboard tray shall be provided of approved model and make.Footrest made with T.W. member of size 4" x 1 ½" finished with 0.8 mm laminate
Drawer units as per drawing shall be provided with multipurpose Godrej locks in each drawer. Facia of drawer unit shall be finished with 1mm thick laminate and all other sides shall be finished with 0.8 mm laminate. The drawers will be provided with handles (Stainless Steel finish) and channels as per approval of the Project Consultant / Bank.
All exposed plywood surfaces to be finished with 1mm thk. laminate of approved make & shade, and all exposed edges of table top & ply verticals to have 1" x 1/4" T.W.lipping. All exposed T.W. sections to be melamined and internal surfaces to have 0.8 mm laminate as directed. Item to include plywood boxing, all necessary hardware and fittings in Stainless Steel finish, lipping to all edges etc. complete in all respects.(Note: 18 mm table top with Post forming Full Round edge)
4 | Low Height Storage/ Back Storage(Credenza) | Sq.ft | 18.375
Providing and fixing storage cabinet 400 mm to 450 mm depth and 750 mm high made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
5 | Full Height Storage | Sq.ft | 44.1
Providing and fixing storage cabinet 400 mm to 450 mm depth and full height upto gypsum ceiling made out of 19mm thick Commercial plywood of approved make including the fixing of shelves at 400 mm to 450 mm c/c and the shutters shall be in 19 mm thick commercial block board and back covered with 8 mm commercial plywood. The Top edge shall be 1.5” to 2” thick and finished with 1.0 mm thick. laminate of the approved make and shade with the provision of necessary grooves between the top edge and shutters below. The shutters shall be fixed with S type “L” hinges of approved make so as to get an equal 8 mm groove between all the shutters at the opening and hinged end of every shutter as per the detailed drawing. Shutter shall be fixed with SS chain from inside so as to open the shutter less than 90 degree and to avoid the breaking of laminate at the hinged end. Shutter shall be finished externally with approved quality 1.0 mm thick. laminate of approved shade of frosty white as approved and make and internally would be finished with 0.8 mm thick. balancing white laminate. Rate shall be inclusive of provision of SS “D”type handles 4” or 6” as approved, Godrej or Vijayan locks with 3 keys and all the necessary hardware, fixtures, fittings etc complete in all respects as directed by the Architect.
Material: 19 mm thick. Commercial ply finished with equivalent make frosty white and internally finished with 0.8 mm thick. balancing white or off-white laminate.
6 | Wall Panelling | Sq.ft | 54.6
Providing and fixing of column panelling with framework of aluminium hollow sections of 50mm x 50mm size 1.5mm thick of JINDAL / INDAL make as internal frame structure placed horizontally & vertically in 550 mm x 550 mm or 600mm x 600mm center to center or as directed by the Architect with12mm thick commercial grade ply and then finished with 1.0 mm thick. laminate of equivalent make frosty white. . All woodwork shall be finished with two or more coats of Melamine or PU polish over one coat of sealer; all complete as per the instructions of Architect. The rate shall be inclusive of provision of groove with 1.0 mm thick. laminate along all 3 sides of the groove in the panelling of size 12mm x 12mmx 18 mm ht. and as directed by the Architect. This item also includes scaffolding for maximum height upto 4.0 m from floor level.
7 | Plastic Emulsion Paint | Sq.ft | 624.75
Providing and applying Acrylic paint in minimum of three coats of approved make and shade on walls, ceiling, plywoods, gypsum boards, surfaces etc. including all the necessary surface preparations. The wall shall be cleaned, filled with putti and applied with one coat of primer so as to achieve an even surface to apply paint as per the directions and to the satifactions of the Architect.
8 | Curtains including rod and fixing | Sq.ft | 134.4
Fabric upto 500Rs./M
Strong Room Area Total
Total Civil And Furniture of All floors
18 % GST
Grand Total