TENDER FOR INTERIOR WORK OF OUR CAMP BRANCH, PUNE

(EXISTING PREMISES)

Time is the essence of contract, any delay will result in penalty and forfeiture of EMD

ARCHITECTS

M/S. DEVAL HERLEKAR & ASSOCIATES.

Architects & Interior Designers. Posting Address: 305 Shaniwar Peth Near Ahilyadevi High School

Pune 411030

Mobile: 8986058446 / 9822216867/9881478448

E-mail. : devalherlekar@gmail.com

Stamp and signature of contractor

NOTICE INVITING TENDER

Dear Sirs,

Re: Interior work for Bank of Baroda Camp Branch, Pune.

Bank of Baroda invites tenders, for the Interior work. Tender copies will be available for free download from the website of Bank of Baroda http://www.bankofbaroda.com/tenders/asp from 07-03-2025

The tenders may be submitted in the following manner:

- In Envelope No. 1(Tender Fee and EMD):

|  | Favoring | Amount Rs. | DD/Banker’s Cheque payable at |
| --- | --- | --- | --- |
| Tender Fee | NIL | NIL | NIL |
| EMD | Bank of Baroda | 30,000/- | Pune |

  - The Tenderer must also submit the Mandatory Information strictly in Bank’s prescribed proforma. Technical Pre-qualification of the tenderer will be based on the Mandatory Information and supporting documents submitted along with the tender documents as well as Architect/Consultant/Bank’s scrutiny of the same and/or inspection of works carried out by the Tenderer. Bank reserves the right to accept or reject any tender without assigning any reason whatsoever. Contractors with valid Registered Udyam Certificate are relaxed from submission of EMD amount.

- In Envelope No.1 (Technical Bid):

  - Mandatory Information (strictly in the Bank’s prescribed

  - Other supporting documents & credentials of the tenderer proforma

  - Must not contain any commercial information.	Any Commercial discloser in the Envelop no. 1 and/or 2 will disqualify the tenderer without any further scrutiny.

  - Vendors who are empanelled with Bank of Baroda Pune Zone are exempt from submission of previous work orders, completion certificates and financials of their firms. However, they are required to submit their letter of empanelment with Bank of Baroda Pune Zone along with acceptance of conditions and terms of contracts.

- In Envelope No.2 (Commercial Bid): The tenderer shall submit the completed tender documents duly signed in duplicate in a separate envelope marked as “Commercial Bid- Envelope No. 2”.

- In Envelope No.3: Sealed Envelope No.1 & Sealed Envelope No.2

Tender Bids received in any form other than mentioned above will be disqualified. Sealed tenders, in duplicate in the prescribed tender form, with the tender fees and EMD, along with the Mandatory Information etc. and commercial bid (Envelope 1, 2 and 3), should be addressed to

Regional Head, (Pune City Region), Bank of Baroda,

1/11, Sharda Center, Khilare Path, Erandwane,

Pune 411004

Stamp and signature of contractor

and super scribed "Tender for Interior Works, for CAMP BRANCH, PUNE”.

Tenders should be submitted to the office not later than 1500 Hrs. on 27-03-2025.

Defect Liability and free maintenance period shall be -12- (Twelve) months from the date of virtual completion of the works.

Validity of offer shall be 120 days from the date of opening of the tender. The Bank does not bind itself to accept the lowest or any tender and reserves to itself the right to accept or reject any or all tenders, either in whole or in part, without assigning any reason for doing so.

Similar job is interior Work for reputed companies or Nationalized Bank.

Stamp and signature of contractor

Mandatory info required for Prequalification of the bidder for Interior work of Bank of Baroda Branch at Camp, Pune.

- Attach copies of the supporting documents.

- Please use additional sheets if required

| Name of the Bidder : |  |  |  |  |
| --- | --- | --- | --- | --- |
| email address : |  |  |  |  |
| Telephone number | office | : |  |  |
| Fax no. : |  |  |  |  |
| Address 1 : |  |  |  |  |
| City : |  |  |  |  |
| Pin code : |  |  |  |  |
| Year of Establishment : |  |  |  |  |
| Status of the Firm : |  |  |  | Proprietary/Partnership/Pvt. Ltd./Pub. Ltd. |
| Names of the directors/ Partners/ proprietor: |  |  |  |  |
| Name and address of the Bankers – 1 : |  |  |  |  |
| Registration number and date with Registrar of Companies/Firms : |  |  |  |  |
| PAN Card Number : |  |  |  |  |
| GST Tax Number : |  |  |  |  |
| Request copies of the Balance sheet : |  |  |  |  |
| Current solvency certificate from your Banker for not less than Rs. Twenty Lacs : |  |  |  | Attach copy. |
| Empanelment Companies/PSUs | with | the | other |  |
| Field of activities : |  |  |  |  |
| Main Activity : |  |  |  |  |
| Value of the total work done till date : |  |  |  |  |
| List particulars of minimum 5 successfully completed works during last TWO years amounting to Rs. Twenty Five lacs or more SUBMITT COPIES OF WORK ORDERS AND COMPLETION CERTIFICATES OF RELEVANT WORK ONLY. |  |  |  |  |

Stamp and signature of contractor

| List Number of Technical staff working in the organization : |  |
| --- | --- |
| List number of other staff working in the organization : |  |
| Have you in past carried out any works for Bank of Baroda or its subsidiaries? : |  |
| Have you been ever disqualified or levied penalty by the Bank in past for non fulfilment of the contractual obligations. If yes, please provide details in brief. : |  |
| Have you ever been put on a holiday list or banned by any Public Sector Units? If yes please provide details in brief: |  |

PLACE:	Date:

Stamp and signature of contractor

INTRODUCTION

| 1 | Client | BANK OF BARODA |
| --- | --- | --- |
| 2 | Architect / Consultant | M/S DEVAL HERLEKAR & ASSOCIATES Address: 305, Shaniwar Peth, Near Ahilyadevi, School, Pune 411030 Mobile: 8986058446/9822216867/9881408448 |
| 3 | Location (Site Address) | Bank Of Baroda, Camp College Premises, Pune |
| 4 | Scope of work | Interior Furnishing work |
| A | Issuer of Tender | Bank of Baroda (Pune City Region), 1/11, Sharda Center, Khilare Path, Erandwane, Pune 411004 |
| B | Submission of Tender | As above |
| C | Likely date of opening of Tenders | Technical Bids to be opened on 27-03-2025 AT 3:30 pm Financial bids opening would be communicated in due course |
| 5 | Time limit for execution | 60 Days from the date of award of work |
| 6 | Earnest Money Deposit | Rs.30,000/- |
| 7 | Retention Amount | 5% Through Bill |
| 8 | Penalty for delay | 1% per week of part thereof up to maximum of 5% |
| 9 | Defect Liability Period | 12 months |
| 10 | Insurance | Contractors all risk policy |
| 11 | Value of Interim Bill (Minimum) | Only one and Maximum 50% of Tender Amount |

Stamp and signature of contractor

To,

Regional Head Bank Of Baroda,

Regional Office (Pune City)

TENDER NOTICE

Place- Date:

2nd Floor, 11/1, Sharda Center, Khilare Path, Erandwane, Pune.

Dear Sir,

Having examined the drawings, specifications, designs and schedule of quotation relating to the works specified in the memorandum herein after set out and having visited and examined the site of the works specified in the said memorandum at the rates mentioned in the attached schedule of quantities and in accordance in all respects with the specifications, designs, drawing and instructions in writing referred to in conditions of tender, the Articles of Agreement, Special Conditions. Schedule of Quantities and Conditions of Contract and with such materials as are provided for by and in all other respects in accordance with such condition of contract and with such materials as are provided with such conditions so far as they may be applicable.

MEMORANDUM

| 1 | Description of works | Proposed Interior Furnishing WORK FOR CAMP Branch PUNE for Bank Of Baroda, |
| --- | --- | --- |
| 2 | Earnest Money* | Rs.30000/- paid by D.D on any Nationalized Bank, payable at Pune in favour of Bank of Baroda |
| 3 | Percentage if any deducted from bill | 5% |
| 4 | Time allowed for completion of the works | 60 Days. |

* Contractors with valid Registered Udyam Certificate are relaxed from submission of EMD amount.

- Should this tender be accepted, I/we hereby agree to abide by the fulfill the terms and provision of the said conditions of Contract annexed hereto so far as they may be applicable or in default thereof to forfeit and pay to the Bank Of Baroda the amount mentioned in the said conditions.

- I/We have deposited a sum of 1% of quoted amount as earnest money with the Bank Of Baroda which amount is not to bear any interest. Should I/We fail to execute the Contract when called upon to do so. I/we do hereby agree that this sum, shall be forfeited by me/us to the Bank Of Baroda.

Stamp and signature of contractor

General Rules and instructions for the guidance of tenderers and form of tender

Tenderer may specially note the following.

- Rates quoted by the tenderer shall be valid for a period of four months from the date of opening the tender. The rates shall be filled in both in words and in figures. All the rates shall be self-sufficient and firm.

- No upward revisions of rate will be accepted after opening the tender.

- If the tenderer fails to accept the order issued at the rate originally quoted by him or at rates negotiated subsequently, as the case may be, the earnest money shall be forfeited.

- The rates at which the work order is finally placed on the successful Tenderer, shall be valid till the completion of the work.

- Time Limit: - The entire work shall be completed within 60 Days. If in the opinion of the Employer / Interior designer, the works gets delayed due to causes which the Employer may consider being beyond the control of the contractor, the Employer at the completion of the time allowed for the contract shall make fair and reasonable extension of time for completion in writing with detail reasons.

- While executing the work the contractors have to ensure that no inconvenience whatsoever is caused to the offices / people functioning in the premises.

- Adequate number of fire extinguishers, first aid boxes, must be provided on the site by the contractor.

- The Bank reserves the right to distribute the work among two or more tenderers.

- Permissible working hours: 9 AM To 6PM or as per convenience of the respective department.

- The work shall be carried out without disturbing Bank’s normal functioning.

- For working beyond office hours’ prior approval shall be obtain from the Security in charge of the building. The client reserves full right either to accept or reject such request from the Contractors without assigning any reasons whatsoever.

- No worker of the contractor will be allowed to stay overnight at site or otherwise with permission of bank authorities.

- Bank reserves the right of addition or deletion of any item listed in B.O.Q. or may operate and Q.R.O. item. Also Bank reserves full right either to accept or reject any tender document.

- Quantities in tender are approximate and payment shall be made only as per actual measurements. Excess quantity shall not be executed without written permission amendment by the Bank. In case of upward or downward revision in quantities of items, the rate quoted by the Contractors shall remain firm at all the times.

- Rates quoted by the tenderer shall include basic cost of material, transport, insurance, sales tax, octroi, Excise duties & other levies, labour overhead profit etc. nothing will be paid extra on any account.

- On completion of the works the contractor shall clear away and remove from the site all constructional plant, surplus, materials, rubbish and temporary works of every kind and leave whole of the site and the works clean and in workman like condition to the satisfaction of Client. No extra payment will be made for this purpose.

- Selected contractor will have to enter into an agreement with the bank as perform as agreement given in the tender within seven days on being issued with the work order for commencement of work.

- Earnest money of successful contractor will be retained by the Bank as Security Deposit. In addition, the successful contractor has to deposit the balance amount of Initial Security Deposit (2% of quoted tender amount) to the Bank within fourteen days of issue work order. E.M.D. of unsuccessful tenderer will be returned after finalization of award of work.

- For any clarification in any item of work. The contractor should get the same from the

Stamp and signature of contractor

interior designer before carrying out the work and all items of work should be carried out with the approval of the Bank.

- RETENTION MONEY:

  - The retention percentage (i.e. Deduction form interim bill) shall be 5% of the gross	value of each interim bill.

  - EMD and Security Deposit amount shall be refunded to the contractor on virtual completion subject to the following:

    - Issue of Virtual Completion Certificate by the Premises Department.

    - Contractor’s removal of his surplus materials, equipment, labour force, temporary sheds / stores etc. from the site (excepting for a small presence required if any for rectification during defect liability period and approved by the Bank)

  - The total retention amount may be refunded 14 (fourteen) days after the end of defects liability period provided he has satisfactorily carried out all the works and rectified all defects in accordance with the condition of the contract, including site clearance.

- Defect Liability Period: Defects pointed out during the defects liability period of 12 (Twelve) months from the date of virtual completion of work. Will be satisfactorily rectified by the contractor at no extra cost to the Employer with end satisfaction.

- The tender documents are not eligible to be transferred. The tenderer shall not mutilate or alter or over write or misuse in any manner and shall submit the same duly filled & signed in prescribed format only. However, a photocopy can be retained for tenderer's reference. The successful tenderer will be issued with a copy of the tender document at the time of signing of the agreement.

- The tenderer shall check the tender documents and if any page/pages is/are missing or duplicate or indistinct, the same shall be brought to the notice of employer and rectified before submission of the tender.

- Canvassing in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

- Special care should be taken to write the rates in figures as well as in words. While quoting the rate in schedule of quantities, the word `only' should be written closely following the amount and it should not be written in the next line. However, if any discrepancy is found, i) The rates which correspond with the amount worked out by the tenderer shall unless otherwise proved be taken as correct.

(OR)

ii) If the amount of an item is not worked out by the tenderer or it does not correspond with the rates written either in figures or in words then the rate quoted by the tenderer in words shall be taken as correct.

(OR)

iii) Where the rates quoted by the tenderer in figures and in words tally but the amount is not worked out correctly, the rates quoted by the tenderer will unless otherwise proved be taken as correct and not the amount.

- GST, VAT or any other tax, any royalties, duties, levies, cess, entry tax, Octroi duty on material in respect of this contract shall be payable by the tenderer and the Employer will not entertain any claim whatsoever in respect of the same, and nothing extra shall be paid/ reimbursed for the same subsequently. The applicable Goods and Service Tax (GST) will be payable extra by the Bank on the finished work.

- Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the site and dimensions, the means of access to the site, and obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.

- Tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and local conditions and other factors bearing on the execution of the work.

- In case of other un-successful tenderers, the EMD shall be returned. No interest is payable on EMD.

LETTER OF OFFER

To,

Regional Head Bank Of Baroda,

Regional Office (Pune City)

2nd Floor, 11/1, Sharda Center, Khilare Path, Erandwane, Pune.

Dear Sir,

Re: Interior work at Bank of Baroda Camp Branch, Pune.

Having examined the contract documents, specifications and Bill of Quantities prepared by premises Section. I / We hereby offer to execute the subject work at the respective rates which I / We have quoted for the items in the Bill of Quantities (B.O.Q.) Further; I declare that before quoting the rates. I / We have visited the site and our rates are as per present site condition, Further I / We herewith deposit 1% of quoted amount for the proposed work as Earnest Money for due execution of the works at my / our tendered rates as per the items of Contract. In the event of this tender being accepted. I / we agree to enter into and execute the necessary contract documents as required by you, I am / we are aware that the Bank intends to complete the entire work as covered in the scope of this tender with in a period as mentioned in special conditions of the Contract, after the letter of intent is issued, I/we agree to complete the works within the said period. As required by you, I / we are returning herewith the documents (in single) duly signed by us at each page in token of our acceptance of the provisions in the documents. Seal: I / we agree to enter into and execute the necessary contract documents as required by you. Signature, with Name & Full Address:

Tele No:

Fax No.

Mobile No.

Stamp and signature of contractor

FORM OF AGREEMENT

THIS AGREEMENT made this ………………………  day of …………………., 20	Between

…	BANK

OF BARODA, The Zonal Manager, Bank Of Baroda, Regional Office, Regional Office (Pune City)

2nd Floor, 11/1, Sharda Center, Khilare   Path,Pune 411004.  (Hereinafter called “the owner”) of one part and

…………...………. of or whose registered office is situated at	(Hereinafter called:

“the Contractor”) of the other part. WHEREAS the owner is desirous of ……………………… (Hereinafter called “the work”) at ……………………………… And has caused drawings and Bill of Quantities showing and describing the work to be done to be prepared by or under the direction of M/s Deval Herlekar & Associates, Pune, WHEREAS the Contractor supplied the owner with a fully priced copy of the said Bill of Quantities (Which copy hereinafter referred to as “the Contract Bill”) AND WHEREAS the said drawings (hereinafter referred to as “the Contract Drawings”) and the Contract Bill have contractor has deposited the sum of Rupees

…	with the owner for due performance of this Agreement.

Stamp and signature of contractor

NOW IS HEREBY AGREED AS FOLLOWS

- For consideration hereinafter mentioned the contractor will upon and subject to the conditions annexed carry out and complete the work shown upon the contract drawings and described by or referred to in the Contract Bills in the said conditions.

- The owner will pay the Contractor the sum of Rupees	(Hereinafter referred to

as “the Contractor Sum”) or such other sum as shall become payable, there under at the times and in the manner specified in the said, Conditions.

- The term “The Architect” in the said Condition shall mean the said M/S. DEVAL HERLEKAR & ASSOCIATES. 429/A Sharmishtha society, Bldg. No. 3 Flat No. 1, Off Senapati Bapat Rd, Shivaji Nagar, Pune 411016. in the event of his ceasing to be “ARCHITECT” for the purpose of this Contact, such other persons or persons as the owner shall be nominated for that purpose, not being a person to whom the Contractor shall object for reasons considered to be sufficient by the Employer, PROVIDED ALWAYS that no person subsequently appointed to be “Architect” under this contract shall be entitled, to disregard or overrule any certificate or opinion or decision or approval or instruction given or expressed by earlier

“ARCHITECT”.

- The said Conditions thereto shall be read and construed as forming part of this Agreement, and the parties hereto shall respectively abide by, submit themselves to the said Conditions and perform the agreements on their part respectively in such Conditions contained.

- All disputes arising out of the contract shall be referred to Arbitration as per the condition stipulated in clause of “Special Condition of Contract”.

AS WITNESS the hands of the said parties Signed by the said

In the presence of witness

NAME	OWNER

ADDRESS

Signed by the said

In the presence of witness

NAME	OWNER

ADDRESS

Stamp and signature of contractor

Special instructions to tenderers

- ESTABLISHMENT:

It is essential condition of this contract that the successful tender shall establish an office in PUNE for the period of Contract and a duly authorized representative shall always be available in PUNE Office to deal with all matters concerning this Contract.

- TIME LIMIT:

The entire work shall be completed within 60 Days from date commencement which shall be FOUR DAYS from the day of acceptance letter is issued to the contractors or the day on which contractor is instructed to take possession of the site, whichever is later.

- TERMS OF PAYMENTS:

The following terms of payments shall apply:

  - Running Account bills will be paid on item rate basis as certified by our Architect / Bank engineer and based on bank'’ security, taking into consideration actual work completed and in progress.

  - Any work done at factory will not be counted in the running accounts bills until the Material is brought to the site work.

- RIGHT TO DISTRIBUTE WORK:	The

Bank reserves all rights to divide, distribute the tender items to more than one agency, delete any item or operate items quoted as rate only.

- ELECTRICAL SUPPLY:

Bank will provide free water and power required for the works. However, the Contractor shall make his own arrangements to draw the power and water from source as decided by the Bank / Architect.

- PROGRAM WORK AND PROGRESS REPORTS:

The successful contractor will have to submit a detailed bar-chart indicating the schedule of various activities from the date of commencement till completion and get the same approved by Architect. Contractor shall strictly adhere to the same. This program shall form part of the contract and shall be binding on the contractor. However, the bank reserves the right to alter the program, if necessary, from time to time, no claim whatsoever of any nature by the Contractor on this account shall be entertained by bank. They shall also have to write their requirements about co-ordination from other agencies working at site.

- OFFICE / STORES ON THE SITE:

The contractor shall provide for all necessary storage on the site in a specified area for all materials, which is likely to deteriorate by the action of the sun. rain or other materials, causes due to exposure, in such a manner that all such materials, Tools, etc., shall be duly protected from damage by weather or any other cause. All such stores shall be cleared away and the ground left in good and proper order on completion of this contract unless otherwise expressly mentioned therein.

- TESTING OF MATERIALS AND WORKS AND PREPARATION OF SAMPLES:	The

contractor shall, is required by Architect / Bank, arrange to test materials and / or portion of the work at his own cost in order to prove their soundness and efficiency. If after any such test, the material or portion of work is found, in the opinion of the Architect and employer to be defective or is found, in the opinion of the Architect and employer to be defective or unsound, the contractor shall pull down and re-erect the same at his own cost. Samples of materials and workmanship shall be submitted by the contractor for the Approval of the Architect / Bank before procurement and execution.

- NOTICE:

The contractor shall comply with all acts and regulations for the successful completion of the contract works and shall give due notice and pay all fees / taxes etc. as per statutory requirements.

- MEASUREMENT IS TO BE RECORDED BEFORE WORK IS COVERED UP: The contractor shall

take joint measurements with the Architect / Bank representative before covering up or

Stamp and signature of contractor

otherwise placing beyond the reach of measurement any item of work should the contractor neglect to do so, the same shall be uncovered at contractor’s expense or in default thereof on payment or allowance shall be made for such work or the materials with which the same, was executed.

- DIMENSIONS:

Figured dimension are to be followed in all large scale details take precedence over small scale drawings. In general, the drawings shall indicate the dimension’s positions and type of construction, the specification shall indicate the qualities and methods, and the bill of quantities shall indicate the quantum and rate for each item of work. Any work indicated in the drawings and not mentioned in the specifications or vice-versa shall be furnished as though fully set forth in both. Any ambiguity, conflict of interpretation, errors or inconsistencies discovered in the drawings / documents shall be promptly brought to the provisions giving more rigorous interpretation shall prevail but in the event of disagreement between the contractors and the supervisors, decision of interior designer shall be final in case of any discrepancy, the contractor is to ask for an explanation before proceeding with the work. However, specifications will prevail over the drawings.

- ACTION WHERE THERE IS NO SPECIFICATION:

In case of any class of work over which there is no specification mentioned, the same shall be carried out in accordance with the latest Indian Standard Specifications subjects to the approval of the Architect / Bank.

- CLEARING OF THE SITE OF WORKS:

The contractor shall clear the site of works as per the instruction of the Architect / Bank. The site of works shall be cleared of all men, materials, shed, etc. belonging to the contractor. The site shall be delivered back to the Bank in a clean and neat condition within a period of one week after the job is completed. In case of failure by the contractor, the Bank will have the right to get the site cleared at the risk and the cost of contractor.

- OCCUPATION OF PARTIALLY COMPLETED PORTION BY THE BANK: The Bank shall be

entitling to and will be at liberty to occupy even the partially completed portion of the work by themselves or through their agents and servants if they so desire. Necessary extension of time for completing the work shall have no claim for any compensation whatsoever due to the delay, if any involved in completing the work on account of partial occupation.

- TYPOGRAPHICAL OR CLERICAL ERRORS: The Architect’s / Bank clarifications regarding drawing / details or particulars to typographical or clerical errors shall be final and binding on the contractor.

- INSURANCE:

The contractor shall obtain adequate insurance cover at his own cost for work against any loss or damages as well as workman compensation and third party risk, until the date of virtual completion of the work. The insurance cover shall be in joint names of the owner and the contractor, is to be deposited with the owner within 15 (Fifteen) days from the date of issue of work order.

- PERFORMANCE GUARANTEE FOR ALL BOUGHT OUT ITEMS:	Contractor

shall submit written performance guarantee from the manufactures of all bought out items.

- LANGUAGE OF TENDER: “English” is the official language of this tender.

- DOCUMENTS TO BE COMPIMENTARY:

All sections of contract document and working drawings shall be complimentary to each other. In case of ambiguities, discrepancies or contradictions between any two sections. Bank/ Architects decision shall be final and binding on the contractor for interpretation of same.

- CONTRACTOR’S SUPERINTENDENCE:	The

contractor shall appoint a qualified and experienced person to supervise the work at site. The contractor shall obtain the approval from Bank / Architect about competence of such person.

- INSPECTION BY CONTRACTOR:

The contractor shall inspect all the works and satisfy himself before same is offered for

Stamp and signature of contractor

inspection to the Bank / Architect.

- REMOVAL OF DEBRIS:

Contractor shall arrange to dispose of debris, wood shaving and any other waste product created while carrying out the work, outside Bank’s premises. The contractor shall take due care while disposing of such waste materials and ensure that any rules / regulations laid down by Municipal Corporation or any other statutory body are not violated. The contractor shall be responsible and answerable to any complaint arising out of improper disposal of waste material. Quoted rates shall involve the cost of same and no extra payment shall be made towards this account.

- MOCK UP:

The Contractor shall prepare a mock-up of items, if required, strictly in accordance with the specification, free of cost, for approval of Architect and bank. The work on these items shall proceed further only after the approval of the mock-up.

- The contractor shall submit original copies of invoices, order forms for any materials purchased for project work, to the bank / Architect if called for.

- The contractor shall calculate realistic quantities after receipt of drawings and after submitting first interim bill but before submitting, the second interim bill Bank / Architect.

- The rates quoted by the tenderer in the schedule of quantities will be deemed to be for the finished work and shall include all charges for:

  - Labour, maintenance, fixing, arranging, cleaning, making. Good, hauling etc.

  - Plant, double, scaffolding, frame work, ladders, ropes, nails, spikes, tools materials, workmen, protection from weather, temporary support, platform, and maintenance of the same. Insurance for labour materials and third party.

  - Covering for the walling and other works during inclement weather or strikes or whenever Directed, as necessary.

  - All temporary canvas, lights, tarpaulin, barricade, water shoots etc. e) All measures required to be taken for protection of existing works.

- All such temporary weather-proof sheds at such places and in a manner approved by the Architect for the storage and protection of materials against the effects of sun and rain.

- Testing of materials as per paragraph -8 of “Special Conditions of Contract”.

- No tools and plants shall be issued by the Bank under the Contract.

- ITEMS ADDITIONAL TO TENDERS:

- The rate of the additional items / non tender items shall be based on the rates quoted by the tenderer for similar items or based on analogues items available in the tender.

- Where applicable rates are not directly available, the rates for extra items if any shall be Derived based on the prevalent market cost of labour and material at site of work including wastage (maximum 5%) plus all types of taxes plus 15% towards contractor’s overhead and profit.

- ARBITRATION:

All disputes or differences of any kind whatsoever which shall at any time arises between the parties here to touching or concerning the works or the execution or maintenance thereof this contract or the rights touching or concerning the works of the execution of maintenance thereof of this contract or the construction remaining operation of effect there of or to the rights or liabilities of the parties or arising out of or in relation thereto whether during or after determination foreclosure or branch of the contract (other than those in respect of which the decision of any person is by the contract expressed to be final binding) shall after written mentioned be referred for adjudication to a sole arbitrator to be appointed as hereinafter provided.

For the purpose of appointing the sole arbitrator referred to above, the Employer will send within thirty days of receipt of the notice, to the contractor a panel of three names of persons who shall be presently unconnected with the organization for which the work is executed.

Stamp and signature of contractor

The contractor shall on receipt of the names as aforesaid, select any one of the person’s name to be appointed as a sole arbitrator and communicate his name to the Employer within thirty days of receipt of the names. The Employer shall thereupon without any delay appoint the said person as the sole arbitration. If the contractor fails to communicate such selection as provided above within the period specified, the Competent Authority shall make the selection and appoint the selected persons as the Sole Arbitrator.

If the Employer fails to send to the contractor the panel of three names as aforesaid within the period specified, the contractor shall send to the Employer a panel of three names of persons who shall all be unconnected with either party. The Employer shall no receipt of the names as aforesaid select the person’s name and appoint him as the sole Arbitrator. If the Employer fails to select the person and appoint his as the sole Arbitrator within 60 days of receipt of the panel and inform the contractor accordingly, the contractor shall be entitled to appoint one of the persons form the panel as the sole arbitrator and communications his name to the Employer. If the Arbitrator so appointed is unable or unwilling to act or resign his appointment or vacates his office due to any reasons whatsoever another sole Arbitrator shall be appointed as aforesaid. The work under the contractor shall however, continue during the arbitration proceedings and no payment due or payable to the contractor shall be withheld on account of such proceedings. The Arbitrator shall be deemed to have entered on the reference on the date he issued notice to both the parties fixing the date of the first hearing. The Arbitrator may from time to time, with the consent of the parties, enlarge the time for making and publishing the award. The arbitrator shall give a separate award in respect of each dispute or difference referred to him. The arbitration shall decide each dispute each dispute in accordance with the terms of the contract and give a reasoned award. The venue of arbitrator shall be such place as may be fixed by the arbitrator in his sole discretion.

The fees, if any of the arbitrator shall, if required to be paid before the award is made and published, be paid half by each of the parties. The cost of the reference and of the award including the fees, if any, the arbitrator who may direct to and by whom and in what manner, such costs or any part thereof shall be paid and may fix or settle and amount of cost to be paid. The award of the Arbitration shall be final and binding on both the parties. Subject to aforesaid the provisions of the Arbitration Act 1992 or any statutory modification or reenactment thereof and the rules made there under, and for the time being in force, shall apply to the Arbitration proceeding under this clause. The Employer and the contractor hereby also agree that arbitration under clause shall be a condition precedent to any right to action under the contract with regard to the matters hereby expressly agreed to be so referred to Arbitration.

Stamp and signature of contractor

General Notes:

- All dimensions are in MKS/Sft system. Unless otherwise stated.

- The quoted rate shall be all inclusive and cover the cost of material including wastage, freight, all types of taxes, duties, royalties, erection, construction, testing of materials, if required samples brought for approval, tools and tackles, plant and equipment’s, supervision, overheads, profit and any other expenditure incurred for completion of work as per drawings, specifications and to the full satisfaction of Bank / Architect.

- The rates quoted shall be valid for working at all heights, depths, and on all floor levels, No extra payment shall be made for scaffolding, staging, ladders etc. for transportation of men and materials at higher or lower levels.

- The item rate specifications are indicative. The Contractor will have to carry out the work in accordance with the drawings, technical specifications and / or other conditions laid down in tender document and to the full satisfaction of Bank / Architect.

- Quantities mentioned against respective items are approximate and can vary to any extent. Payment shall be made on actually executed quantities.

- No claims shall be entertained in case of increase or decrease in quantities Bank / Architect reserve the right to increase / decrease quantities of any item and also to add

/ delete any item in totality. a) Bank, Architect reserve right of Operating any item for any work on any floor.

- The rate for partition, paneling shall include necessary additional frame work supports that may be required to suit site conditions or stability of the item. Decision of Architect in regards to the need for such additional supports shall be final.

- Rates for partitions, paneling shall include making of necessary cut outs, chasing to be made for conduits, switch boards etc.

- After completion of work the site shall be handed over absolutely clean, after ensuring that all laminates, floors, walls, etc. are spotless clean.

- Rates of all items shall remain constant irrespective of floor level and no extra shall be paid for handling and stacking of materials, removing debris etc. from the site.

- Unless otherwise noted, the method of measurement will be as per I.S. 1200.

- Bank / Architect reserve the right of operating all ‘Quote Rate Only’ items.

13.		Wherever contractor proposes to use ‘equivalent’ makes (i.e. other than specified) he shall obtain Bank’s prior approval. Bank may ask Architect before giving approval to the same. Any additional cost and time lost due to this will be on Contractor’s account and no claims will be entertained.’

Stamp and signature of contractor

Specifications and Workmanship

PAINTING AND POLISHING

The rates shall include for provision of:

Works at all heights and use of all scaffolding quantities, ladders, cradles etc. necessary for execution work and for inspection. Preparing surfaces to receive finishing coats, such as brushing to remove all extraneous materials and fungus growth, if any, preparing, scraping, washing and rubbing etc. Puttying, sand papering and dusting of surfaces in between coats where applicable. Work on cornices, narrow bands and widths, recesses grooves etc. Finishing to approve matt texture and/or stipple finish etc. complete as directed. Spreading and removing, covering to doors window. Floors, fittings, ducts, pipes etc. to protect them from splashes. Washing floors, cleaning glass, joinery, electrical fittings, ducts. Pipes etc. of drops and splashes and leaving premises clean and tidy.

CARPENTARY AND JOINERY

Rate shall include for provision of:

Unless otherwise specified, the quoted rates shall be for all joinery work with approved Indian Teakwood, Steam beech wood free from all defects and kiln seasoned and preservatives treated and shall be got tested in laboratory and approved before placing or applying primer coat. The rate shall also include for applying two coats of Solignum paint to the face of frames in contact with masonry or concrete and the like. The rate quoted shall include for fixing on masonry/RCC members and for 600 x 40 mm x 6 mm finished MS holdfasts embedded in PCC (1:2:4) blocks of 260 x 150 mm size and of width to suit the thickness of masonry wall or for anchor fasteners, coach screws etc. of adequate size for fixing to RCC members, as Care shall be taken to thoroughly clean the hardware, fittings, glass panes, doors, etc. of the waste cement marks, left over paint marks etc. The rate shall include for providing temporary supports etc., for fixing of frames and shutters at all levels. The rate quoted shall be inclusive of any chiseling work, raking of sides, sills, soffits, if required and making good the surface. The sizes mentioned are for finished items.

Also the rate quoted shall include for:

Planning and finishing smooth all faces of various faces as required. All screws, nails, pins, key and such other fixing accessories. Cutting rebates, Grooves etc. in frames/shutters as required or as directed. Approved glue or adhesive for all joinery work. Providing seasoned Burma T.W., beech wood best quality, beading, trimmings, beads, weather bars etc. as called for. Providing rough grounds as per drawings. Providing as per schedule/drawings all hardware, fittings and fixture like, latches, hinges, tower bolts etc. locks and other items as indicated for fixing such items supplied by the Engineer-in-charge at no extra cost.

Solignum treatment to all hidden wooden members and all board or ply faces coming in contact with masonry or concrete faces where retarding treatment is not called for.

Providing and applying pink primer to all wooden surfaces till the same are painted/polished. Filling and finishing neat gaps around frames, doors, windows etc. with approved mastic.

Work at all heights and locations. Wherever painting is specified it includes painting the surfaces with three coats of first quality synthetic enamel paint of approved shade and make over a coat of wood pink primer. Wherever polishing is specified it include polishing the surfaces with two or more layers of French spirit polish, with approved additives, stainers to get even shade over a coat of primer of approved chemicals. All plywood and blackboard edges where exposed shall be finished with teakwood Lipping. Unless otherwise specified, all door shutters specified are to be solid core flush door shutters, with topping bonded with phenol formaldehyde and confirming to relevant Indian Standards.

FALSE CEILING

The rates shall include for:

All necessary labour, materials and use of tools and equipments for the satisfactory completion of the job. Work at all heights. Work in narrow widths and all locations as called for and working to specified patterns and profiles. Carrying out work to correct line and level.

Stamp and signature of contractor

Providing necessary cutouts and framework for lights, fittings, AC grills, trap doors, sprinkler heads, smoke detectors and similar including supports from ceiling where directed for these. No deductions for openings less than 0.1 sq.m. in area. Necessary precautions to prevent damage to the flooring and other works.

SPECIFICATIONS GENERAL

These specifications are for work to be done, items to be supplied and materials to be used in the works as shown and defined on the drawings and described herein all under supervision and to the entire satisfaction of the Architect/Consultant owner. The workmanship is to be the best available and of a very high standard, use must be made of specialist tradesmen in all types of work and necessary allowance must be made for the same in the rates quoted. The materials and items to be provided by the contractor shall be the best of their respective kinds as specified in the tender and in accordance with the samples approved, where materials or products are specified in these specifications and/or Bill of Quantities by the name of the manufacturer of the brand name, trade name or catalogue reference, the contractor will require to obtain prior approval of the Architect/Consultant and owner for using substitute material or product. The contractor shall produce all invoices, vouchers or receipted accounts for any materials if called upon to do so by the Architect/Consultant and owner. Samples of all materials are to be submitted to the Architect/Consultant/owner for his approval before the contractor orders or delivers in bulk in the site. Samples together with their packing are to be provided by the Contractor free of charge and approved samples will be retained by the owner and designer for comparison with the materials which will be delivered to the site. Should any materials be rejected by the Architect/Consultant/owner, they will be removed from the site at the Contractors expense. Also the contractor will be required to submit specimen finishes of colours, fabrics, etc. for approval of Architect/Consultants/ owner before proceeding with the works. Should it be necessary to prepare shop drawings, and then four copies of such drawings shall be submitted for approval of the Architect/Consultant who will retain two copies, all at the Contractor’s expenses. Timber generally is to be the best of its kind, well and property seasoned, of natural growth, free from work holes, large loose or dead knots or other defects and sawn die square and not to suffer from warping, splitting or other defects through handling. The hardwood is to be Hollock or red maranti with moisture contents not more than 20%. Teak is to be the best quality from Dandeli free from soft heart, worm and bee holes, and weighing not less than 50 lbs. per cubic foot with maximum moisture contents of 12%. Teak veneers and flitches shall match each other throughout and, where possible, shall match existing flitches in the building. The particleboard shall be of high density, equal or superior quality to that laid in the I.S. 3478 and as approved by the Architect/Consultant.

The blackboard shall be of Mysore, Anchor or P.G.Brand, one of the following I.S.

Specification or such approved adhesives shall be used: - I.S. 851 - 1957: Synthetic Resin adhesive for construction work in wood.I.S. 849 - 1957: Cold setting case in glue for wood. where glued joinery and carpentry work is likely to come into contact with moisture, the glue shall be waterproof. The use of animal glues will not be permitted. Flush doors of hollow framed core insulated construction shall be constructed with wide stiles, top and

bottom rail, one wide horizontal intermediate rail and two wide diagonal braces, filled in solid with approved rigid type polyurethane doors shall be constructed with one 3 wide and one 5 wide stile, wide top and bottom rail, one wide horizontal intermediate rail and 2 wide diagonal braces; filled in as described before. Flush doors of hollow framed core construction shall be constructed with 3 wide stiles and top rails, 5

wide bottom rail, two 6 wide horizontal intermediate rails with beehive core of 1 wide filling pieces at centers both ways and blocked out as necessary for lock and hinges. All horizontal members shall have 1/4 dia. borings. All doors shall consist of selected hardwood properly jointed together and they shall be covered on both sides with 3/16 teak veneered plywood or as specified. Each door is to be lipped all around with 1/2 teak twice-rebated edging tongued to the stiles and rails and mitered. The doors are to be the full thickness as specified. The lipping on the meeting stiles of folding doors shall be increased to take the rebate as specified.

Stamp and signature of contractor

Frames to doors, windows, etc. shall be of hardwood or teak as specified and to the required sizes with all necessary moldings with mortised and tennoned joint, lead and teak pins and secured in position as specified. Shelves generally shall be constructed of plywood with edgings of 1 teak tongued on. Timber is to be cut to the required sizes and length as soon as practicable after the works are begun and stored under cover so that the air will circulate freely around it. Joinery is to be prepared immediately after the finalization of the contract, framed up (but not boned) and stored until required for fixing in position, when it is to be bonded and wedged up. Any portion that warps or develop shakes or other defects are to be replaced before wedging up. The whole work is to be framed and finished in a proper workman like manner, in accordance with the detailed drawings, and fitted with all necessary metal ties, straps, bolts, screws, etc. Turning bonded joints are to be cross-tongued with teak tongues and where over 1/2 thick, to be double cross tongued. Joiners work generally is to be finished with fine sand papered surfaces unless otherwise specified. Templates, boxes and molds shall be accurately set out and rigidly constructed so as to remain accurate during the time they are in use. Grounds are to be clean sawn, free from large knots, splayed as required and plugged and fixed to walls, etc. at 1-6 centers unless otherwise specified. Wood plugs are to be cut on the twist. Patent wall plugs or plastic fillings may be used in lieu of wood plugs with the prior approval of the Architect/Consultant. All unexpected surfaces of timber, e.g. false ceilings, backing fillets, backs of door frames, cupboard framing, grounds, etc. are to be treated with two coats of Atlas `A or other equal and approved timber preservative before fixing or bedding The service stations, bar counters, shelving, etc. shall be generally constructed of plywood as described and specified properly housed, grooved tongued, glued, blocked and screwed together and entirely to the satisfaction of the Architect/Consultant. The banquettes, chairs, tables, etc. shall be generally constructed of teak, foam rubber and fabric as described and specified, properly housed, grooved, tennoned, tongued, glued, blocked and screwed together in the manner of good quality furniture and entirely to the satisfaction of the Architect/Consultant owner. A prototype sample of all custom made pieces must be prepared and submitted to the Architect/Consultant for his owner’s approval before proceeding with the work in quantity.

HARDWARE METAL:

The hardware throughout shall be of approved manufacture and supply, well made and equal in every respect to the approved samples to be deposited with the owner and Architect/Consultant. For the purpose of approval of samples, the contractor may be required to produce and provide to the Architect/Consultant, samples from many different sources and should allow in his rates for the same. Fittings generally shall have satin chrome or anodized finish unless otherwise stated and shall be suitable for their intended purpose of use.

Screws are to match the finish of the article to be fixed and to be round or flat headed or counter sunk as required. The bronze and brass surfaces shall be covered with thick grease or other suitable protective material renew as necessary and subsequently clean off and clear away on completion. Aluminum and stainless steel shall be of approved manufacture and suitable for its particular application Generally, the surfaces of all aluminum shall have an anodized finish and the quality and finish both shall comply with the samples approved by the Architect/Consultant owner. All steel, brass, bronze, aluminum and stainless steel articles shall be submitted for test for strength, if so, required by the Architect/Consultant owner, at the contractor’s expenses. All brazing and welds are to be executed in a clean and smooth manner, rubbed down and left in the flattest and tidiest way, particularly where exposed.

Chromium plating shall be in accordance with B.S. 1224 or as per approved specifications for normal outdoor conditions, and shall be on a base material of copper or brass.

FIBRE GLASS

The fiberglass decorative panels shall be constructed or 60% glass fibre chopped strand mat reinforced with 70% polyester resin; the fibreglass and resin to be either pigmented or sprayed with and fired with tarred paint. The panels shall be made in moulds to the approved design as per drawings and to the thickness required by the Architect/Consultant. The fibreglass panels

Stamp and signature of contractor

are also obtainable from the approved suppliers.

GLAZIER

All glass to be approved manufacture complying with is: 3548-1966, or as per approved quality and sample, to be of the quality specified and free from bubbles, smoke wanes, air holes and other defects. The compound for glazing to metal is to be a special non-hardening compound manufactured for the purpose and of a brand and quality approved by the Architect/Consultant owner. In cutting glass, proper allowance shall be made for expansion each square of glazing to be in whole sheet. On completion, clean all glass inside and out, replace all cracked, scratched or broken panes and leave in good condition to the satisfaction of the Architect/Consultant owner.

PAINT POLISHING

All materials required for the works shall be of specified and approved manufacture, delivered to the site in the manufactures containers with the seals, etc. unbroken and clearly marked with manufacturers name or trade-mark with a description of the contents and colour. All materials are to be stored on the site of the works. Spray painting with approved machines will be permitted only if prior written approval has been obtained from the Architect/Consultant. No spraying will be permitted in the case of priming neither coats nor where the soiling of adjacent surface is likely to occur. The nozzle and pressure to be so operated as to give an even coating throughout to the satisfaction of the Architect/Consultant. The paint used for spraying is to comply generally with the specification concerned which is to be specifically prepared by the manufacturer for spraying. Thinning of paint made for brushing will not be allowed. Wood preservation shall be Solignum or other equal and approved impregnating wood preservative, and all concealed woodwork shall be so treated. All brushes, tools, pots, kettles, etc. used in carrying out the work shall be clean and free from foreign matter, and are to be thoroughly cleaned out before being used with a different type of class of material.

All iron or steel surfaces shall be thoroughly scrapped and rubbed down with wire brushes and shall be entirely free from rust, mill scale, etc. before applying the priming coat.

Surfaces of new woodwork, which are to be painted, are to be rubbed down, knotted and stopped to the approval of the Architect/Consultant owner. Surfaces of previously painted woodwork which are to be repainted shall be cleaned with soap and water, detergent solution or approved solvent to remove dirt, grease, etc. whilst wet the surfaces shall be flatted down with a suitable abrasive and then rinsed down and allowed to dry. Minor areas of defective paint shall be removed by scrapping back to a firm edge and the exposed surface touched in with primer as described and stopped with putty. Where woodwork has been previously painted or polished and is to be newly polished, the same shall be prepared with scrapping, burning off or rubbing down. Surfaces of previously painted metal which are to be repainted shall be cleaned down and flatted down as described in surfaces of previously painted woodwork. Minor areas of defective paint and any rust and loose scale shall be removed completely by chipping, scrapping and wire brushing back to the bare metal and touched in with primer as described.

Stamp and signature of contractor

APPENDIX

LIST OF MATERIALS OF APPROVED BRAND / MANUFACTURER

(First Quality to be used)

Unless otherwise approved the following brands shall be used for these works

| NO. | ITEM | PRODUCT NAME / MANUFACTURER |
| --- | --- | --- |
| 1 | Paint and Polish: | ICI/Asian paint/Berger, Nerolac, Weather Shield |
| 2 | Wood Preservative: | Bison by British Paint/ Termiseal by PCI/Solignum |
| 3 4 | M.R. Grade Commercial Plywood: False ceiling: | DURO Tower Ply Green (Ecotech) Century (Sainik) Archid ply (Silvi) AMF/ Indian Gypsum /Armstrong |
| 5 | Laminate: | Sunmica, Formica, Greenlam, Merino, royal touch |
| 6 | Hinges, Screws and other hardwares: | G.K.W /Nettle fold, Hafele, Ebco, Grass |
| 7 | Adhesive: | Fevicol, Araldite, 3M |
| 8 | Locks, Door locks: | Godrej, Vijayan |
| 9 | Night Latch: | Godrej, Vijayan |
| 10 | Aluminum Door Frame: | Jindal |
| 12 | Glass: | Modi/Asahi/St. Gobain. |
| 13 | Aluminum Cladding: | Eurobond/Altobond/Alukbond |
| 14 | Keyboard Drawer: | EBCO |
| 15 | Telescopic CPU stand: | EBCO |
| 16 | Cable Organizer (Wire Manager): | EBCO |
| 17 | Vitrified Tiles: | Johnson/Nitco/Kajaria/EURO/RAK |
| 18 | PVC TILES: | Armstrong 2.0MM THK |
| 19 | Floor Spring | Dorma, Hemco, Hafele |
| 20 | Doors ( 35 MM waterproof Flush Doors) | Chetak / with Pine wood |
| 21 | Sanitary Fitting | Hindware, Parryware, Jaquar |
| 22 | Plumbing Fittings | Jaquar Florantine |
| 23 | Tower Bolts | Brass oxidized or S.S. |

Stamp and signature of contractor